## Water Property Connections
Water Property Connection Tolerance Report: |  |  | Example Estate Stage 1 Traralgon |  |  | GW Std Drawing A3-59295 & WSA 03-2011-3.1 MRWA Edition V2 - Clause 22.2 & 22.3
Lot Number | Connection depth (300-600mm) |  |  |  | Connection offset (+/- 100mm from design) |  |  |  | Connection dist. into property (1.5-2.0m) |  | Comments
| Ball Valve Level | FSL | Depth (m) | Tolerance | Design | As constructed | Difference | Tolerance | As constructed | Tolerance
101 | 90.17 | 90.62 | 0.45 | Pass | 6 | 5.9 | -0.1 | Pass | 1.909 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail
|  |  | 0 | Fail |  |  | 0 | Pass |  | Fail